## Guidance Notes for Submission of Drawings and Maps

All drawings submitted should be prepared by a competent Engineer/Architect and should be dated, signed and scale specified.

### Site Location Map

- A location map of the site at a scale of 1:2500 (5 copies), highlighting the site, with the entire site boundary outlined in a distinctive colour i.e. red, showing all its adjoining land.  The location of the site notice erected or fixed must be identified. The North point shall be indicated on the map. The map shall include sufficient details to identify the site in relation to the appropriate Ordnance Survey Map.

- All buildings within 500m radius of the site boundaries to be clearly marked and identified.

- All rivers, streams, and watercourses to be clearly marked and identified.

### Site Layout Map

- A site layout plan at a scale of 1:500 (5 copies), showing:

- Area to be infilled and any works associated with it (portable toilets, plant, sheds, equipment, weighbridge etc) should be identified and be wholly within the site boundary.

- Waste inspection area(s) and quarantine area(s) to be shown.

- Show all surface water features within or adjoining the site (rivers, streams, ponds (artificial or otherwise) drains, drinking water wells etc.)

- Site entrance to be clearly marked.

- The layout of the facility identifying the nature and purpose of each part of the facility.

- The type of waste to be stored in each part of the facility.

- The layout of watermains, fire hydrants, surface water drains, foul sewers, septic tanks, percolation areas.

- The position of interceptors, bunding walls etc.

- The point or points from which emissions are made or are to be made, and

- The point or points at which monitoring and sampling are or are to be undertaken.

- The site boundary outlined in red on the site plan, identifying boundary type(s) e.g. wall/fence, hedging etc.

### Drawings

- A topographical survey layout drawing (5 copies of each) showing the area (Ha) of the proposed site, plus the existing and proposed contours of the site to a scale of 1:500;

- The existing and proposed contours to be shown in 2 distinctive colours, e.g. existing in black or blue, proposed in red.

- Drawing showing S cross sections through the proposed site (cross sections at 50m intervals through the entire site North-South and East-West) with a horizontal scale and vertical scale to a ratio of 1:10 (for example horizontal scale 1:1000, vertical scale 1:100)

- Written confirmation that the proposed waste permit site boundaries, is clearly marked out, and identifiable on site.

- The quantity of waste to be infilled in a year shall be specified (in tonnes) and a proposed timescale for the activity.

- Sites larger than 2 Hectares should have an accompanying map detailing the phased management of the site. (drawing showing the phased infilling and restoration at the site)

Meath County Council require the same details to be submitted with each waste permit application hence the above details must be submitted. This type of information is not set out in the guidance notes as prepared by the Environmental Protection Agency in their document. However, Meath County Council require that all waste permit applications be uniform.